Copyright 2018 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

This Product MasterSpec Section is licensed by Deltek, Inc. to All Weather Architectural Aluminum ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Deltek or The American Institute of Architects (AIA). Neither AIA nor Deltek are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact All Weather Architectural Aluminum, 777 Aldridge Rd., Vacaville, CA 95688; Phone: (707) 452-1600; Fax: (707) 452-1616; Website: www.allweatheraa.com.

For information about MasterSpec, contact Deltek at (800) 424-5080 or visit masterspec.com.

SECTION 085113 - ALUMINUM WINDOWS

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Access Product MasterSpec Sections:

<Double click here to view the list of manufacturer Sections available at ProductMasterSpec.com>

Revise this Section by deleting and inserting text to meet Project-specific requirements.

- GENERAL

      - SUMMARY

        - Section Includes:

          - Aluminum windows for exterior locations.

        - Related Requirements:

Retain subparagraph below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

          - Section 084113 "Aluminum-Framed Entrances and Storefronts" for coordinating finish among aluminum fenestration units.

      - PREINSTALLATION MEETINGS

Retain "Preinstallation Conference" Paragraph below if Work of this Section is extensive or complex enough to justify a conference.

        - Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

Retain subparagraphs below if required. If retaining, revise to include product-specific requirements.

          - Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

          - Review and discuss the finishing of aluminum windows that is required to be coordinated with the finishing of other aluminum work for color and finish matching.

          - Review, discuss, and coordinate the interrelationship of aluminum windows with other exterior wall components. Include provisions for anchoring, flashing, weeping, sealing perimeters, and protecting finishes.

          - Review and discuss the sequence of work required to construct a watertight and weathertight exterior building envelope.

          - Inspect and discuss the condition of substrate and other preparatory work performed by other trades.

          - Coordinate glass to match storefront.

If needed, insert list of conference participants not mentioned in Section 013100 "Project Management and Coordination."

      - ACTION SUBMITTALS

Action submittals are submittals requiring responsive action and return of reviewed documents to Contractor.

        - Product Data:

          - Include construction details, material descriptions, glazing and fabrication methods, dimensions of individual components and profiles, hardware, and finishes for aluminum windows.

        - Shop Drawings:

          - Include plans, elevations, sections, hardware, accessories, insect screens, operational clearances, and details of installation, including anchor, flashing, and sealant installation.

Retain "Samples" Paragraph below for single-stage Samples, with a subordinate list if applicable. Retain "Samples for Initial Selection" and "Samples for Verification" paragraphs for two-stage Samples.

        - Samples: For each exposed product and for each color specified, [2 by 4 inches (50 by 100 mm)] <Insert dimensions> in size.

        - Samples for Initial Selection: For units with factory-applied finishes.

          - Include Samples of hardware and accessories involving color selection.

        - Samples for Verification: For aluminum windows and components required, showing full range of color variations for finishes, and prepared on Samples of size indicated below:

          - Exposed Finishes: [2 by 4 inches (50 by 100 mm)] <Insert dimensions>.

          - Exposed Hardware: Full-size units.

        - Product Schedule: For aluminum windows. Use same designations indicated on Drawings.

      - INFORMATIONAL SUBMITTALS

Informational submittals are submittals that require review by Architect, but they do not require Architect's responsive action and return of reviewed documents to Contractor, provided submittals comply with requirements. If rejected, submittals with responsive action must be returned to Contractor.

        - Product Test Reports: For each type of aluminum window, for tests performed by a qualified testing agency.

        - Field Quality-Control Submittals:

Retain "Field quality-control reports" Subparagraph below if Contractor is responsible for field quality-control testing and inspecting.

          - Field quality-control reports.

        - Sample warranties.

Coordinate "Qualification Statements" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article. If inserting additional entities or specialist, add qualifications to "Quality Assurance" Article

        - Qualification Statements: For manufacturer and Installer.

      - QUALITY ASSURANCE

        - Qualifications:

          - Manufacturers: A manufacturer capable of fabricating aluminum windows that meet or exceed performance requirements indicated and of documenting this performance by test reports and calculations.

          - Installers: An installer acceptable to aluminum window manufacturer for installation of units required for this Project.

      - MOCKUPS

        - Build mockups to verify selections made under Sample submittals, to demonstrate aesthetic effects, and to set quality standards for fabrication and installation.

          - Build mockup as indicated on Drawings.

          - Approval of mockups does not constitute approval of deviations from the Contract Documents contained in mockups unless Owner specifically approves such deviations by Change Order.

Retain subparagraph below if the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups.

          - Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Insert "Field Conditions" Article and requirements for field measurements for existing construction that requires custom-fabricated window replacements.

      - WARRANTY

When warranties are required and available, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

        - Special Warranty: Manufacturer agrees to repair or replace aluminum windows that fail in materials or workmanship within specified warranty period.

          - Failures include, but are not limited to, the following:

            - Failure to meet performance requirements.

            - Structural failures including excessive deflection, water leakage, condensation, and air infiltration.

            - Faulty operation of movable sash and hardware.

            - Deterioration of materials and finishes beyond normal weathering.

            - Failure of insulating glass.

Verify warranty periods for units and components. Some manufacturers might insist that warranty periods begin on date of manufacture or sale.

          - Warranty Period:

            - Window: [10] <Insert number> years from date of Substantial Completion.

Warranty period for glazing units varies by type.

            - Glazing Units: [Five] [10] [20] <Insert number> years from date of Substantial Completion.

Warranty period for aluminum finish depends on type. Baked-on enamel finishes often have 10-year warranties; high-performance fluoropolymer finishes often have 20-year warranties.

For any projects within 4 miles (6.44 km) of a body of saltwater, contact All Weather for warranty guidelines and information.

            - Aluminum Finish: [10] [20] <Insert number> years from date of Substantial Completion.

- PRODUCTS

Manufacturers and products listed in this Section are neither recommended nor endorsed by the AIA or Deltek. Before selecting manufacturers and products, verify availability, suitability for intended applications, and compliance with minimum performance requirements. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

Product options commonly available from manufacturers are included in square brackets throughout the Section Text. Not every manufacturer listed can provide every option offered; verify availability with manufacturers. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

      - SOURCE LIMITATIONS

Retain this article to limit sources for the entire Section. Source limitations may also be specified in individual articles if desired.

        - Source Limitations: Obtain aluminum windows from single source from single manufacturer.

      - WINDOW PERFORMANCE REQUIREMENTS

See the Evaluations for discussions of performance requirements. Coordinate performance requirements with types of window operation (for example, casement or double hung), glass type, and other variables. If performance requirements vary among types of windows, insert language to differentiate requirements among window types or indicate requirements in a schedule on Drawings.

        - Product Standard: Comply with AAMA/WDMA/CSA 101/I.S.2/A440 for definitions and minimum standards of performance, materials, components, accessories, and fabrication unless more stringent requirements are indicated.

        - Performance Class and Grade: AAMA/WDMA/CSA 101/I.S.2/A440 as follows:

All Weather manufactures windows that meet LC, CW, and AW minimum performance class ratings.

          - Minimum Performance Class: [R] [LC] [CW] [AW] [As indicated on Drawings] <Insert class>.

AAMA/WDMA/CSA 101/I.S.2/A440 establishes a gateway Performance Grade for windows to qualify for each Performance Class. The gateway Performance Grade is 15 for Class R, 25 for Class LC, 30 for Class CW, and 40 for Class AW. For a particular project, the minimum Performance Grade for windows is typically based on the design pressure.

All Weather manufactures to a minimum performance grade of 80 for its "Series 6000." All other products range from a minimum performance grade of 0 to 60.

          - Minimum Performance Grade: [15] [20] [25] [30] [35] [40] [45] [50] [60] [80] [As indicated on Drawings] <Insert grade>.

Retain "Thermal Transmittance" Paragraph below if required to comply with requirements of authorities having jurisdiction. First option is for Northern Climate Zone, second is for North-Central Climate Zone, third is for South-Central Climate Zone, and fourth is for Southern Climate Zone.

        - Thermal Transmittance: NFRC 100 maximum whole-window U-factor of [0.30 Btu/sq. ft. x h x deg F (1.71 W/sq. m x K)] [0.32 Btu/sq. ft. x h x deg F (1.83 W/sq. m x K)] [0.35 Btu/sq. ft. x h x deg F (2.0 W/sq. m x K)] [0.60 Btu/sq. ft. x h x deg F (3.43 W/sq. m x K)] <Insert value>.

First option in "Solar Heat-Gain Coefficient (SHGC)" Paragraph below is for North-Central Climate Zone, second is for South-Central Climate Zone, and third is for Southern Climate Zone. Northern Climate Zone does not have a maximum SHGC.

        - Solar Heat-Gain Coefficient (SHGC): NFRC 200 maximum whole-window SHGC of [0.40] [0.30] [0.27] <Insert value>.

CRFs are typically between 45 and 75. First option in "Condensation-Resistance Factor (CRF)" Paragraph below is suitable for most of the United States at 25 percent relative humidity where outdoor design temperature is below 0 deg F (minus 18 deg C); second option is suitable for same relative humidity at minus 10 deg F (minus 23 deg C). In northern states where winter outdoor design temperature is lower, increase factor. If buildings have mechanically controlled humidification, coordinate CRF with design conditions for humidity level. See AAMA 1503.

        - Condensation-Resistance Factor (CRF): Provide aluminum windows tested for thermal performance in accordance with AAMA 1503, showing a CRF of [45] [52] <Insert value>.

        - Thermal Movements: Provide aluminum windows, including anchorage, that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures by preventing buckling, opening of joints, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects. Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Differential values in "Temperature Change" Subparagraph below (for aluminum in particular) are suitable for most of the United States.

          - Temperature Change: [120 deg F (67 deg C) ambient; 180 deg F (100 deg C) material surfaces] <Insert temperature change>.

Retain "Sound Transmission Class (STC)" and "Outside-Inside Transmission Class (OITC)" paragraphs below after verifying availability of test data. STC evaluates construction subject to interior sound frequencies, while OITC evaluates an expanded sound-frequency range more representative of conditions to which the building envelope is subject, such as road, rail, and airplane traffic noise. OITC is generally the preferred evaluation method for exterior windows.

All Weather manufactures to an STC range of up to 41.

        - Sound Transmission Class (STC): Rated for not less than [26] [30] [41] <Insert rating> STC when tested for laboratory sound transmission loss in accordance with ASTM E90 and determined by ASTM E413.

        - Outside-Inside Transmission Class (OITC): Rated for not less than [22] [26] [30] <Insert rating> OITC when tested for laboratory sound transmission loss in accordance with ASTM E90 and determined by ASTM E1332.

All Weather does not manufacture impact-resistant products.

Retain "Windborne-Debris Impact Resistance" Paragraph below to suit Project. The IBC establishes criteria for buildings in hurricane-prone locations. In paragraph, "enhanced" option applies to essential facilities and has additional requirements. Verify requirements of authorities having jurisdiction. Verify which manufacturers have tested products and can demonstrate compliance.

        - Windborne-Debris Impact Resistance: Passes ASTM E1886 missile-impact and cyclic-pressure tests in accordance with ASTM E1996 for Wind Zone [1] [2] [3] [4] for [basic] [enhanced] protection.

Insert increased heights if different from those in "Large-Missile Test" and "Small-Missile Test" subparagraphs below. For enhanced protection, delete "Small-Missile Test" Subparagraph.

          - Large-Missile Test: For glazing located within [30 ft. (9.1 m)] <Insert dimension> of grade.

          - Small-Missile Test: For glazing located between 30 ft. (9.1 m) and [60 ft. (18.3 m)] <Insert dimension> above grade.

      - ALUMINUM WINDOWS

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

All Weather's "Series 5000" 2-1/4-inch (57-mm) and "Series 6000" (outside glazed) product line all use 6063 extruded aluminum and are age hardened to a T-6 rating for strength and durability.

All Weather's "Series 5000" windows have integral extrusion walls with a nominal web thickness of 0.125 inch (3.17 mm), and a wall thickness of 0.094 inch (2.3 mm). The material thickness on all wall sections meets or exceeds commercial window standards. They are available in fixed, casement, awning, hopper, and many combinations of all.

All Weather's "Series 5000" 2-1/4-inch (57-mm) windows nailing fins are 0.062 inch (1.57 mm) thick. The material thickness on all wall sections meets or exceeds commercial window standards. The pour and debridge thermal break profiles are extruded as a single extrusion with a cavity for the thermal break material. Once the profile is extruded, the cavity is filled with a two-part polyurethane that has a low coefficient of thermal conductivity. After the polyurethane has cured, a saw is used to debridge the profile by ripping the aluminum web of the cavity. The profile is now thermally broken, providing both improved thermal performance and improved condensation resistance.

All Weather's "Series 6000" (outside glazed) product line profiles for this series are extruded as two separate parts and are then joined into a single profile using thermal struts. The aluminum extrusions are knurled and then crimped along the thermal profile to ensure a tight grip. The finished profile is thermally broken, providing both improved thermal performance and improved condensation resistance. All Weather uses a 20-mm offset thermal strut, although larger or smaller profiles are available upon request. (3-inch (76-mm) windows use a 31.9-mm strut.)

All Weather's "Series 6100" 3-3/4-inch thermally optimized window system is engineered to meet Title 24 compliance using the Prescriptive Method. This product is an outside glazed, project out window system (fixed, casement, or awning). It is a strutted system, meaning two separate aluminum profiles are mechanically joined using a glass fiber reinforced polyamide thermal break. Before the interior and exterior profiles are joined with the thermal strut, they can be painted or anodized with separate colors for a two-toned window. This system uses an extruded aluminum screen with corner key construction. Screens are retained using leaf springs at the corners and fit into a feature on the window frame. There is no fabrication required to attach screens.

All Weather distributes products everywhere west of the Rocky Mountains. Contact All Weather to confirm distribution to Project location.

        - Basis-of-Design Product: Subject to compliance with requirements, provide All Weather Architectural Aluminum; [Series 5000] [Series 6000] [Series 6100] or comparable product by one of the following:

          - EFCO Corporation.

          - Kawneer North America; an Arconic company.

          - TRACO.

          - <Insert manufacturer's name>.

All Weather manufacturers casement outswing, projected awning and hopper, and horizontal sliding windows.

        - Types: Provide the following types in locations indicated on Drawings:

          - Casement: [Outswing] [Inswing].

          - Projected, awning.

          - Projected, hopper.

          - Single hung.

          - Double hung.

          - Horizontal sliding.

          - Fixed.

AAMA/WDMA/CSA 101/I.S.2/A440 includes requirements for aluminum, thermal breaks, and other materials and window components. If more stringent requirements apply, insert them in this article.

        - Frames and Sashes: Aluminum extrusions complying with AAMA/WDMA/CSA 101/I.S.2/A440.

          - Thermally Broken Construction: Fabricate frames, sashes, and muntins with an integral, concealed, low-conductance thermal barrier located between exterior materials and window members exposed on interior side in a manner that eliminates direct metal-to-metal contact.

            - Thermally broken extruded aluminum, Type 6063 age hardened to T-6 rating for strength and durability.

        - Glazing:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

            - Cardinal Glass.

            - Guardian Glass.

            - Pilkington Glass.

            - Vitro Architectural Glass.

            - <Insert manufacturer's name>.

Retain "Glass," "Windborne-Debris-Impact-Resistant Laminated Glass," "Insulating-Glass Units," or "Windborne-Debris-Impact-Resistant Insulating-Glass Units" Paragraph below to suit Project, or revise if other type of glazing unit is necessary.

All Weather offers laminated glass that lowers STC ratings. In addition, bird and turtle deterrent glazing from Vitro Architectural Glass complying with standards set forth from the Wildlife Urban Interface (WUI) is available.

        - Glass: ASTM C1036, Type 1, q3.

          - Clear Annealed Glass: Class 1.

          - Low-Iron Annealed Float Glass: Class I; with visible light transmission of not less than 91 percent and SHGC of not less than 0.87.

          - Tinted Annealed Float Glass: Class 2, [blue] [gray] [green].

Codes require fully tempered or laminated labeled safety glass in areas subject to human impact.

          - Kind: Fully tempered [where indicated on Drawings] <Insert requirements>.

Retain "Windborne-Debris-Impact-Resistant Laminated Glass" Paragraph below with "Windborne-Debris-Impact Resistance" Paragraph in "Window Performance Requirements" Article.

        - Windborne-Debris-Impact-Resistant Laminated Glass: ASTM C1172 with two plies of float glass.

          - Float Glass: [Annealed] [Heat strengthened] [Fully tempered] [As required by performance requirements indicated].

          - Inner Ply: Clear.

          - Interlayer: [0.090 inch (2.29 mm)] [As required by performance requirements indicated] <Insert requirements>.

          - Outer Ply: [Clear] [Gray] [Bronze] [Green] <Insert tint>.

          - Low-E Coating: [Sputtered on second surface] [Sputtered on third surface] [Sputtered on second or third surface] <Insert coating>.

        - Insulating-Glass Units: ASTM E2190.

          - Glass: ASTM C1036, Type 1, Class 1, q3.

            - Tint: [Clear] [Gray] [Bronze] [Green] <Insert tint>.

            - Kind: Fully tempered [where indicated on Drawings] <Insert requirements>.

          - Lites: [Two] [Three].

          - Spacer: Bystronic thermal plastic spacer technology.

            - Filling: Fill space between glass lites with [air] [argon].

            - Low-E Coating: [Sputtered on second surface] [Sputtered on third surface] [Sputtered on second or third surface] <Insert coating>.

Retain "Integral Louver Blinds" Subparagraph below if required. Verify availability with manufacturers. All Weather does not include integral louver blinds in its products.

          - Integral Louver Blinds: Glass manufacturer's standard, horizontal louver blinds with aluminum slats and polyester fiber cords, located in space between glass lites, and operated by hardware located on inside face of sash.

            - Operation: [Tilt only] [Tilt, raising, and lowering].

            - Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

Retain "Windborne-Debris-Impact-Resistant Insulating-Glass Units" Paragraph below with "Windborne-Debris-Impact Resistance" Paragraph in "Window Performance Requirements" Article.

        - Windborne-Debris-Impact-Resistant Insulating-Glass Units: ASTM E2190 with two lites and complying with impact-resistance requirements in "Window Performance Requirements" Article.

          - Exterior Lite: ASTM C1036, Type 1, Class 1, q3.

            - Tint: [Clear] [Gray] [Bronze] [Green] <Insert tint>.

            - Kind: [Heat strengthened] [Fully tempered].

          - Interior Lite: ASTM C1172 clear laminated glass with two plies of float glass.

            - Float Glass: [Annealed] [Heat strengthened] [Fully tempered] [As required by performance requirements indicated].

            - Interlayer Thickness: [0.090 inch (2.29 mm)] [As required by performance requirements indicated] <Insert requirements>.

          - Filling: Fill space between glass lites with [air] [argon].

          - Low-E Coating: [Sputtered on second surface] [Sputtered on third surface] [Sputtered on second or third surface] <Insert coating>.

"Glazing System" Paragraph below refers to the method by which the glazing unit (glass) is retained within the window sash or frame.

        - Glazing System: [Manufacturer's standard factory-glazing system that produces weathertight seal] <Insert glazing requirements>.

If retaining "Dual Glazing System" Subparagraph below, verify availability with manufacturers. All Weather offers triple glazing for its "Series 6000" and "Series 6100."

          - Dual Glazing System:

            - Interior Lite: [Glass] <Insert type>.

            - Exterior Lite: [Glass] [Insulating-glass unit] <Insert type>.

Nonmagnetic stainless steelor superior corrosion-resistant-coated metal hardware may be required to meet specific customer or regional needs and for protection against corrosive environments, such as in urban, coastal, or industrial areas.

        - Hardware, General: Provide manufacturer's standard hardware fabricated from aluminum, stainless steel, or carbon steel complying with AAMA 907, or other corrosion-resistant material compatible with adjacent materials; designed to smoothly operate, tightly close, and securely lock windows, and sized to accommodate sash weight and dimensions.

          - Exposed Hardware Color and Finish: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color and finish>.

        - [Casement] [and] [Awning] Window Hardware:

          - Gear-Type Rotary Operators: Complying with AAMA 901 when tested in accordance with ASTM E405, Method A. Provide operators that function without requiring the removal of interior screens or using screen wickets.

            - Type and Style: [Match Architect's sample] [As selected by Architect from manufacturer's full range of types and styles] <Insert type and style>.

          - Hinges:

            - Casement Windows: Four-bar heavy-duty stainless steel concealed hinges, die-cast zinc cam handles with pole ring, worm-gear rotary control operator with butt hinges, and side-mounted multilocking handle.

            - Awning Windows: Four-bar heavy-duty stainless steel concealed hinges, die-cast zinc cam handles with pole ring, worm-gear rotary hardware with loose pin concealed hinges, and side-mounted locking handles.

          - Cam Handle: Die cast used with RCA 3 miller pole.

          - Lock: [Lift-type throw, cam-action lock with keeper] [Key-operated custodial lock with keeper and removable handle] [Concealed multipoint lock operated by single lever handle or lift-type throw] <Insert requirements>.

Retain one option in "Limit Devices" Subparagraph below if limit devices are required. They restrict sash opening for safety. Indicate locations of windows with limit devices on Drawings or in schedules, and coordinate with code requirements for windows for emergency escape and rescue.

          - Limit Devices: [Concealed friction adjustor, adjustable stay bar] [Concealed support arms with adjustable, limited, hold-open] limit devices designed to restrict sash opening.

            - Limit clear opening to [4 inches (100 mm)] <Insert dimension> for ventilation; with custodial lock.

          - Window Operator Control Device (WCOD): SafeGard TM WOCD is tested and certified to ASTM F2090.

Retain "Pole Operators" Subparagraph below if Project includes manually operated windows more than 72 inches (1800 mm) above floor. Electric operators are also available; if needed, insert requirements.

          - Pole Operators: RCA 3 miller pole.

        - Hung Window Hardware:

          - Counterbalancing Mechanism: Complying with AAMA 902, concealed, of size and capacity to hold sash stationary at any open position.

          - Locks and Latches: Allow unobstructed movement of the sash across adjacent sash in direction indicated and operated from the inside only.[ Provide key-operated custodial locks.]

          - Tilt Latch: Releasing latch allows sash to pivot about horizontal axis to facilitate cleaning exterior surfaces from the interior.

        - Horizontal-Sliding Window Hardware:

          - Sill Cap/Track: [Extruded-aluminum track with natural anodized finish] [Manufacturer's standard] <Insert track material and finish> of dimensions and profile indicated; designed to comply with performance requirements indicated and to drain to the exterior.

          - Locks and Latches: Allow unobstructed movement of the sash across adjacent sash in direction indicated and operated from the inside only.[ Provide key-operated custodial locks.]

          - Roller Assemblies: Low-friction design.

        - Weather Stripping: Provide full-perimeter weather stripping for each operable sash unless otherwise indicated.

        - Fasteners: Noncorrosive and compatible with window members, trim, hardware, anchors, and other components.

Generally, retain "Exposed Fasteners" Subparagraph below. Revise if exposed fasteners are permitted.

          - Exposed Fasteners: Do not use exposed fasteners to greatest extent possible. For application of hardware, use fasteners that match finish hardware being fastened.

      - ACCESSORIES

All Weather does not provide integral ventilating systems.

        - Integral Ventilating System/Device: Where indicated, provide weather-stripped, adjustable, horizontal fresh-air vent, with a free airflow slot, full width of window sash by approximately [1 inch (25 mm)] [3 inches (75 mm)] when open, complying with AAMA/WDMA/CSA 101/I.S.2/A440. Equip vent bar with an integral insect screen, removable for cleaning.

Retain "Dividers (False Muntins)" Paragraph below if dividers are required. Indicate divider patterns on Drawings or insert requirements.

All Weather provides one Simulated Divided Lite (SDL) profile with a flat SDL on interior of 1 inch (25 mm) in width, and exterior SDL is beveled; see CAD detail at www.allweatheraa.com.

        - Dividers (False Muntins): Provide extruded-aluminum divider grilles in designs indicated for each sash lite.

          - Type: [Permanently located at exterior lite] [Permanently located between insulating-glass lites] [SDL simulated divided lite] <Insert type>.

          - Pattern: [As indicated on Drawings] <Insert pattern>.

          - Profile: [As selected by Architect from manufacturer's full range] <Insert profile>.

For dual-glazing systems, retain "Horizontal Louver Blinds" Paragraph below for blinds located between glazing units. Verify availability with manufacturers.

        - Horizontal Louver Blinds: Provide manufacturer's standard, removable, horizontal louver blinds with aluminum slats and polyester fiber cords that are operated by hardware located on inside face of sash.

          - Operation: [Tilt only] [Tilt, raising, and lowering].

          - Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range] <Insert color>.

        - Subsills: Thermally broken, extruded-aluminum compensation channel in configurations indicated on Drawings.

All Weather offers standard and custom integral panning frames.

        - Panning Frame: [Standard] [Custom die] [Special panning frame in multiple wall sections]; extruded-aluminum profiles in sizes and configurations indicated on Drawings.

All Weather manufactures a composition channel that is part of the window frame.

        - Custom Die Extrusion: [Recessed custom die] [Head frame reversed pan drip edge] [no panning on sill, only jambs and head, head standard, or nonstandard drip edge].

Insert other accessories, such as nail fins, if required.

      - INSECT SCREENS

If alternative screens are to be considered, such as magnetic screens, retractable screens, or other types, use submittal process for consideration.

        - General: Fabricate insect screens to integrate with window frame. Provide screen for each operable exterior sash. Screen wickets are not permitted.

          - Type: Painted roll-formed aluminum frames finished to match window frames factory-drilled/tapped to receive screen attachment hardware.

        - Aluminum Frames: Manufacturer's standard aluminum alloy complying with SMA 1004 or SMA 1201. Fabricate frames with mitered or coped joints or corner extrusions, concealed fasteners, and removable PVC spline/anchor concealing edge of frame.

          - Tubular Framing Sections and Cross Braces: Roll formed from aluminum sheet.

Retain "Glass-Fiber Mesh Fabric" or "Aluminum Wire Fabric" Paragraph below or insert another. Usually, retain first option in "Glass-Fiber Mesh Fabric" Paragraph. Second option is suitable for areas plagued by small insects such as no-see-ums and is also suitable for use as a solar screen that blocks up to 65 percent of incident solar heat and glare.

        - Glass-Fiber Mesh Fabric: [18-by-14 (1.1-by-1.4-mm) or 18-by-16 (1.0-by-1.1-mm)] [20-by-20 (0.85-by-0.85-mm) or 20-by-30 (0.85-by-0.42-mm)] <Insert type> mesh of PVC-coated, glass-fiber threads; woven and fused to form a fabric mesh resistant to corrosion, shrinkage, stretch, impact damage, and weather deterioration. Comply with ASTM D3656/D3656M.

          - Mesh Color: [Manufacturer's standard] <Insert color>.

        - Aluminum Wire Fabric: 18-by-16 (1.1-by-1.3-mm) mesh of 0.011-inch- (0.28-mm-) diameter, coated aluminum wire.

          - Wire-Fabric Finish: [Natural bright] [Charcoal gray] [Black] <Insert finish>.

      - FABRICATION

        - Fabricate aluminum windows in sizes indicated. Include a complete system for assembling components and anchoring windows.

        - Glaze aluminum windows in the factory.

        - Weather strip each operable sash to provide weathertight installation.

        - Weep Holes: Provide weep holes and internal passages to conduct infiltrating water to exterior.

Retain first paragraph below for lines where sash frames lap the wrong way to shed water.

        - Provide water-shed members above side-hinged sashes and similar lines of natural water penetration.

Retain "Mullions" Paragraph below if required for Project.

        - Mullions: Provide mullions and cover plates, matching window units, complete with anchors for support to structure and installation of window units. Allow for erection tolerances and provide for movement of window units due to thermal expansion and building deflections. Provide mullions and cover plates capable of withstanding design wind loads of window units.

Bow and bay window assemblies usually contain casement, double-hung, or fixed window units.

        - [Bow] [Bay] Window Assemblies: Provide [operating] [and] [fixed] units in configuration indicated. Provide window frames, sashes, hardware, and other trim and components necessary for a complete, secure, and weathertight installation, including the following:

          - Angled mullion posts with interior and exterior trim.

          - Angled interior and exterior extension and trim.

          - Exterior head and sill casings and trim.

        - Complete fabrication, assembly, finishing, hardware application, and other work in the factory to greatest extent possible. Disassemble components only as necessary for shipment and installation.

      - GENERAL FINISH REQUIREMENTS

        - Comply with NAAMM/NOMMA AMP 500for recommendations for applying and designating finishes.

        - Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

        - Appearance of Finished Work: Noticeable variations in same piece are unacceptable. Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

      - ALUMINUM FINISHES

        - Finish designations prefixed by AA comply with the system established by the Aluminum Association for designating aluminum finishes.

Retain finishes in this article to suit Project. If retaining more than one, indicate location of each on Drawings, in a window schedule, or by inserts. Verify availability with manufacturers.

All Weather provides a Class I clear-anodized finish and a dark bronze anodized finish.

"Class I, Clear Anodic Finish" Paragraph below is heavy-anodized finish. Finish has a minimum coating thickness of 0.7 mil (0.018 mm).

        - Class I, Clear Anodic Finish: AA-M12C22A41 (Mechanical Finish: nonspecular as fabricated; Chemical Finish: etched, medium matte; Anodic Coating: Architectural Class I, clear coating 0.018 mm or thicker) complying with AAMA 611.

Class II, Clear Anodic Finish" Paragraph below is standard finish with many manufacturers. Finish has a minimum coating thickness of 0.4 mil (0.010 mm).

        - Class II, Clear Anodic Finish: AA-M12C22A31 (Mechanical Finish: nonspecular as fabricated; Chemical Finish: etched, medium matte; Anodic Coating: Architectural Class II, clear coating 0.010 mm or thicker) complying with AAMA 611.

"Class II, Color Anodic Finish" Paragraph below is standard finish with many manufacturers. Finish has a minimum coating thickness of 0.4 mil (0.010 mm).

        - Class II, Color Anodic Finish: AA-M12C22A32/A34 (Mechanical Finish: nonspecular as fabricated; Chemical Finish: etched, medium matte; Anodic Coating: Architectural Class II, integrally colored or electrolytically deposited color coating 0.010 mm or thicker) complying with AAMA 611.

Retain one of two "Color" subparagraphs below. Options in first "Color" Subparagraph are examples only and may vary in color range and availability among manufacturers.

All Weather's "Series 6000" and "Series 6100" can be provided with different colors on the interior and exterior.

          - Color: [Clear anodized] [Dark bronze] .

          - Color: [As selected by Architect from manufacturer's range of colors and color densities] <Insert color>.

"Class I, Color Anodic Finish" Paragraph below is heavy-anodized finish. Finish has a minimum coating thickness of 0.7 mil (0.018 mm).

        - Class I, Color Anodic Finish: AA-M12C22A42/A44 (Mechanical Finish: nonspecular as fabricated; Chemical Finish: etched, medium matte; Anodic Coating: Architectural Class I, integrally colored or electrolytically deposited color coating 0.018 mm or thicker) complying with AAMA 611.

Retain one of two "Color" subparagraphs below. Options in first "Color" Subparagraph below are examples only and may vary in color range and availability among manufacturers.

          - Color: [Clear anodized] [Dark bronze].

          - Color: [As selected by Architect from manufacturer's range of colors and color densities] <Insert color>.

"High-Performance Organic Finish (Two-Coat Fluoropolymer)" Paragraph below references AAMA standards for high-performance and superior performance organic coatings on extrusions and panels. Revise if specific products are required. Consult manufacturers for AAMA compliance and for percentage of PVDF in their finishes.

        - High-Performance Organic Finish (Two-Coat Fluoropolymer): AA-C12C40R1x (Chemical Finish: cleaned with inhibited chemicals; Chemical Finish: conversion coating; Organic Coating: manufacturer's standard two-coat, thermocured system consisting of specially formulated inhibitive primer and fluoropolymer color topcoat containing not less than [50] [70] percent PVDF resin by weight). Prepare, pretreat, and apply coating to exposed metal surfaces to comply with [AAMA 2604] [AAMA 2605] and with coating and resin manufacturers' written instructions.

          - Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color and gloss>.

"High-Performance Organic Finish (Three-Coat Fluoropolymer)" Paragraph below references AAMA standard for superior performance organic coating on extrusions and panels. Revise if specific products are required.

        - High-Performance Organic Finish (Three-Coat Fluoropolymer): AA-C12C40R1x (Chemical Finish: cleaned with inhibited chemicals; Chemical Finish: conversion coatings; Organic Coating: manufacturer's standard three-coat, thermocured system consisting of specially formulated inhibitive primer, fluoropolymer color coat, and clear fluoropolymer topcoat, with both color coat and clear topcoat containing not less than 70 percent PVDF resin by weight). Prepare, pretreat, and apply coating to exposed metal surfaces to comply with AAMA 2605 and with coating and resin manufacturers' written instructions.

          - Color and Gloss: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from full range of industry colors and color densities] <Insert color and gloss>.

For exact finish, insert names of coating manufacturers and products.

- EXECUTION

      - EXAMINATION

        - Examine openings, substrates, structural support, anchorage, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

        - Verify rough opening dimensions, levelness of sill plate, and operational clearances.

        - Examine wall flashings, vapor retarders, water and weather barriers, and other built-in components to ensure weathertight window installation.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

      - INSTALLATION

        - Comply with manufacturer's written instructions for installing windows, hardware, accessories, and other components. For installation procedures and requirements not addressed in manufacturer's written instructions, comply with installation requirements in ASTM E2112.

        - Install windows level, plumb, square, true to line, without distortion or impeding thermal movement, anchored securely in place to structural support, and in proper relation to wall flashing and other adjacent construction to produce weathertight construction.

        - Install windows and components to drain condensation, water penetrating joints, and moisture migrating within windows to the exterior.

        - Separate aluminum and other corrodible surfaces from sources of corrosion or electrolytic action at points of contact with other materials.

      - FIELD QUALITY CONTROL

Retain first option in "Testing Agency" Paragraph below if Owner hires an independent testing agency.

        - Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

          - Testing and inspecting agency will interpret tests and state in each report whether tested work complies with or deviates from requirements.

Revise "Testing Services" Paragraph below if more stringent testing is required.

        - Testing Services: Testing and inspecting of installed windows to take place as follows:

          - Testing Methodology: Testing of windows for air infiltration and water resistance to be performed in accordance with AAMA 502.

          - Air-Infiltration Testing:

            - Test Pressure: That required to determine compliance with AAMA/WDMA/CSA 101/I.S.2/A440 performance class indicated.

            - Allowable Air-Leakage Rate: [1.5] <Insert number> times the applicable AAMA/WDMA/CSA 101/I.S.2/A440 rate for product type and performance class rounded down to one decimal place.

          - Water-Resistance Testing:

All Weather does not recommend testing assembly at test pressures higher than the allowable stress design of the whole assembly. It defines "whole assembly" as exterior wall, siding, framing, sealants, flashing materials, window, and window components. An example of this is a 110 mph (177 km/h) wind load would be a field test pressure of approximately 3.5 psf (17 kg/sq. m).

            - Test Pressure: [Two-thirds] <Insert number> times test pressure required to determine compliance with AAMA/WDMA/CSA 101/I.S.2/A440 performance grade indicated.

            - Allowable Water Infiltration: No water penetration.

Do not test above the allowable stress load for the structure. Most common structures are designed for a wind load of 110 mph (177 km/h); consult the structural engineer prior to testing.

          - Testing Extent: [Three] [Three mockup] <Insert number or description> windows of each type as selected by Architect and a qualified independent testing and inspecting agency. Windows to be tested after perimeter sealants have cured.

          - Test Reports: Prepared in accordance with AAMA 502.

        - Tests and Inspections:

See Section 014000 "Quality Requirements" for retesting and reinspecting requirements and Section 017300 "Execution" for requirements for correcting the Work.

          - Windows will be considered defective if they do not pass tests and inspections.

        - Prepare test and inspection reports.

      - ADJUSTING, CLEANING, AND PROTECTION

        - Adjust operating sashes and hardware for a tight fit at contact points and weather stripping for smooth operation and weathertight closure.

        - Clean exposed surfaces immediately after installing windows. Avoid damaging protective coatings and finishes. Remove excess sealants, glazing materials, dirt, and other substances.

          - Keep protective films and coverings in place until final cleaning.

        - Remove and replace glass that has been broken, chipped, cracked, abraded, or damaged during construction period.

        - Protect window surfaces from contact with contaminating substances resulting from construction operations. If contaminating substances do contact window surfaces, remove contaminants immediately in accordance with manufacturer's written instructions.

END OF SECTION 085113